## Sheet1
No | Deskripsi Material | Satuan | Harga Material Amandemen 1 | JASA ZONA 1
|  |  |  | PASANG | BONGKAR | KET | Kelompok
1 | AAAC - S 240 sq mm | B | PLN | 6652.1459 | 3991.2875 | Erect Only | MDU
2 | ACO / ATS TR | B | PLN | 701413.9251 | 420848.3551 | Erect Only | MDU
3 | ACO TM | B | PLN | 2097744.0546 | 1258646.4328 | Erect Only | MDU
4 | Air Insulated Switchgear;TP;24kV;630A;16kA | B | PLN | 758244.4418 | 454946.6651 | Erect Only | MDU
5 | Alluminium Insulated Binding Wire | B | 9134.58 | 5794.7267 | 3476.836 | Supply Erect | 6. Pengikat Konduktor
6 | Arm Tie Band 10"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 104560.1817 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
7 | Arm Tie Band 6"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | S | 70516.1613 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
8 | Arm Tie Band 7"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | M | 76023.0081 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
9 | Arm tie siku 50x50x3,5 mm x 750 mm | B | 71306.5821 | 4056.3087 | 2433.7852 | Supply Erect | 5. Pembesian
10 | Arm Tie Type 1500 - 1 1/2" - (t=2,3mm) | B | 126765.5999 | 7243.4084 | 4346.045 | Supply Erect | 5. Pembesian
11 | Arm Tie Type 750 - 3/4" - (t=2,3 mm) | B | 73790.6286 | 5215.2541 | 3129.1524 | Supply Erect | 5. Pembesian
12 | Arm Tie Type 900 - 3/4" - (t=2,3 mm) | B | 74415.1356 | 5215.2541 | 3129.1524 | Supply Erect | 5. Pembesian
13 | BATA MERAH | B | 1165.125 | 1000.0876 | 600.0525 | Supply Erect | Pendukung
14 | Battery Charger 12-24VDC 10A (setara deepsea) | B | 3993582.4484 | 231789.069 | 139073.4414 | Supply Erect | Pendukung
15 | Begel 10" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 78454.857 | 7011.6193 | 4206.9716 | Supply Erect | 5. Pembesian
16 | Begel 11" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 89886.1314 | 7011.6193 | 4206.9716 | Supply Erect | 5. Pembesian
17 | Begel 13" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 99443.8848 | 7011.6193 | 4206.9716 | Supply Erect | 5. Pembesian
18 | Begel 14" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 103339.1307 | 7011.6193 | 4206.9716 | Supply Erect | 5. Pembesian
19 | Begel 5" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 48396.4962 | 6895.7248 | 4137.4349 | Supply Erect | 5. Pembesian
20 | Begel 6" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 56095.6422 | 6895.7248 | 4137.4349 | Supply Erect | 5. Pembesian
21 | Begel klem 3/4" u/kabel | B | 27113.8569 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
22 | Besi siku L 50x50x3,5 mm x 100 cm - Tempat kabel | B | 115950.4437 | 5794.7267 | 3476.836 | Supply Erect | 5. Pembesian
23 | Besi siku L 50x50x3,5 mm x 100 cm - tiang pengaman | B | 116244.9873 | 5794.7267 | 3476.836 | Supply Erect | 5. Pembesian
24 | Besi siku L 50x50x3,5 mm x 1100 mm - pagar tegak | B | 135109.7591 | 14495.8343 | 8697.5006 | Supply Erect | 5. Pembesian
25 | Besi siku L 50x50x3,5 mm x 1850 mm - penghalang belakang | S | 231142.1579 | 15813.6374 | 9488.1825 | Supply Erect | 5. Pembesian
26 | Besi siku L 50x50x3,5 mm x 260 mm - topang pagar depan | S | 35999.5662 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
27 | Beton Cor K-300 | S | 1840904.9561 | 442998.2685 | 265798.9611 | Supply Erect | Pendukung
28 | Bolt & Nut M.16 x 120 - HDG | Loks | 23913.9576 | 3187.0997 | 1912.2598 | Supply Erect | 5. Pembesian
29 | Bolt & Nut M.16 x 140 - HDG | Loks | 26471.64 | 3302.9942 | 1981.7965 | Supply Erect | 5. Pembesian
30 | Bolt & Nut M.16 x 350 (besi as) Double Arm - HDG | Loks | 66777.5082 | 4346.045 | 2607.627 | Supply Erect | 5. Pembesian
31 | Bolt & Nut M.16 x 400 (besi as) Double Arm - HDG | Loks | 73261.1958 | 4635.7814 | 2781.4688 | Supply Erect | 5. Pembesian
32 | Bolt & Nut M.16 x 50 - HDG | Loks | 14431.7043 | 2491.7325 | 1495.0395 | Supply Erect | 5. Pembesian
33 | Bolt & Nut M.16 x 75 - HDG | S | 17626.011 | 2549.6798 | 1529.8079 | Supply Erect | 5. Pembesian
34 | Bolt & Nut M.8 x 30 - Steinless | S | 2796.3 | 2317.8907 | 1390.7344 | Supply Erect | Pendukung
35 | Borring untuk Kabel tanah | S | 0 | 897188.2224 | 538312.9334 | Erect Only | Jasa
36 | Box APP Pengukuran Langsung tanpa MCCB Aluminium | S | PLN | 347683.6035 | 208610.1621 | Erect Only | MDU
37 | Box APP SPLU (charger) | S | PLN | 230615.546 | 138369.3276 | Erect Only | MDU
38 | Box MCB 3 phase | S | 20301.138 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
39 | Bracket Protection Device/Fitting Clamp MCA | S | 8857.7463 | 4056.3087 | 2433.7852 | Supply Erect | 1. Aksesories dan Material Pendukung
40 | Bundled End Assembly (BEA) - komplit | B | 72237.75 | 30986.3526 | 18591.8116 | Supply Erect | 1. Aksesories dan Material Pendukung
41 | C Clamp Cu 25 mm | S | PLN | 12168.9261 | 7301.3557 | Erect Only | 3. Connector
42 | Cable Power ; NFA2X ; 4 x 16 mm | S | PLN | 10430.5081 | 6258.3049 | Erect Only | MDU
43 | Commisioning test Jaringan JTM termasuk NIDI | S | 0 | 521525.4053 | 312915.2432 | Erect Only | Jasa
44 | Commisioning test Jaringan Kabel JTM termasuk NIDI | S | 0 | 3319596.4228 | 1991757.8537 | Erect Only | Jasa
45 | Commisioning test JTR termasuk NIDI | B | 0 | 318709.9699 | 191225.9819 | Erect Only | Jasa
46 | Commisioning test LBS/Recloser termasuk NIDI | B | 0 | 1070579.1488 | 642347.4893 | Erect Only | Jasa
47 | Compresion Joint Bimetal 16/16 mm - Al/Cu | B | 28708.68 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
48 | Compresion Joint Bimetal 25/25 mm - Al/Cu | B | 54046.8864 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
49 | Compresion Joint Sleeve 95 mm - Al | B | PLN | 13327.8715 | 7996.7229 | Erect Only | 3. Connector
50 | Compresion Joint Sleeve CU 10 + Scooth/heatshrink | B | 11900.1207 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
51 | Compresion Joint Sleeve Joint CU-CU 25 + Scooth/heatshrink | B | 45206.85 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
52 | Compresion Joint Sleeve Non Tension 70 mm - Al | B | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
53 | Compresion Joint Sleeve Tension 150 mm - Al | B | PLN | 24708.8085 | 14825.2851 | Erect Only | 3. Connector
54 | Compresion Joint Sleeve Tension 240 mm - Al | B | PLN | 24708.8085 | 14825.2851 | Erect Only | 3. Connector
55 | Compresion Joint Sleeve Tension 70 mm - Al | B | PLN | 24708.8085 | 14825.2851 | Erect Only | 3. Connector
56 | Concrete Slove | B | 24363.2298 | 2897.3634 | 1738.418 | Supply Erect | Pendukung
57 | Conductor Clamp + Bolt & Nut MCA | B | 4380.87 | 8112.6174 | 4867.5704 | Supply Erect | 1. Aksesories dan Material Pendukung
58 | Connection Clamp For Netral + Bolt M12 x 25 - (Acc. MVTIC) | B | PLN | 2897.3634 | 1738.418 | Erect Only | 1. Aksesories dan Material Pendukung
59 | Cross Arm UNP 100 - 6000 mm - (l=50 mm, t=5 mm, tgg=100 mm) | S | 1537046.8809 | 98835.234 | 59301.1404 | Supply Erect | 5. Pembesian
60 | Cross Arm UNP 100 - 750 mm - (l=50 mm, t=5 mm, tgg=100 mm) | S | 233360.5559 | 14486.8168 | 8692.0901 | Supply Erect | 5. Pembesian
61 | Cross Arm UNP 65 - 1000 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | B | 162884.4749 | 14825.2851 | 8895.1711 | Supply Erect | 5. Pembesian
62 | Cross Arm UNP 65 - 1500 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | B | 234559.2365 | 24379.3577 | 14627.6146 | Supply Erect | 5. Pembesian
63 | Cross Arm UNP 65 - 3000 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | B | 437469.0175 | 56006.6326 | 33603.9796 | Supply Erect | 5. Pembesian
64 | Cross Arm UNP 65 - 750 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | B | 119884.8378 | 13327.8715 | 7996.7229 | Supply Erect | 5. Pembesian
65 | Cross Arm UNP 80 - 1000 (l=42 mm,t=3,5 mm,tgg=80 mm) | B | 186277.3886 | 15813.6374 | 9488.1825 | Supply Erect | 5. Pembesian
66 | Cross Arm UNP 80 - 1500 (l=42 mm,t=3,5 mm,tgg=80 mm) | B | 270923.2538 | 17790.3421 | 10674.2053 | Supply Erect | 5. Pembesian
67 | Cross Arm UNP 80 - 2500 (l=42 mm,t=3,5 mm,tgg=80 mm) | S | 482744.8429 | 49417.617 | 29650.5702 | Supply Erect | 5. Pembesian
68 | Cross Arm UNP 80 - 3000 (l=45 mm,t=3,5 mm,tgg=80 mm) | S | 494895.6985 | 52712.1248 | 31627.2749 | Supply Erect | 5. Pembesian
69 | Cross Arm UNP 80 - 500 (l=42 mm,t=3,5 mm,tgg=80 mm) | S | 104017.6995 | 8112.6174 | 4867.5704 | Supply Erect | 5. Pembesian
70 | CT - TR Class 0,5S | B | PLN | 69536.7207 | 41722.0324 | Erect Only | MDU
71 | Current transformer (CT) kelas 0,2s, Burden minimal 7,5 VA Proteksi 5P10 | M3 | PLN | 118602.2808 | 71161.3685 | Erect Only | MDU
72 | Current transformer (CT) kelas 0,2s, Burden minimal 7,5 VA Proteksi 5P10 Rasio CT single primer 25/5-5A s/d 75/5-5A. | M3 | PLN | 118602.2808 | 71161.3685 | Erect Only | MDU
73 | DC to DC Converter Boost Step-up Module 1800W 40A;10-60v to 12-90v dc | M3 | 97870.5 | 35003.065 | 21001.839 | Supply Erect | Pendukung
74 | Dead End Assembly (DEA) - komplit | M3 | 113561.4714 | 49255.1772 | 29553.1063 | Supply Erect | 1. Aksesories dan Material Pendukung
75 | Dead End Tubes/Bundled End Protection + komplit | M3 | 82126.3989 | 5794.7267 | 3476.836 | Supply Erect | 1. Aksesories dan Material Pendukung
76 | Dinabolt 10mmx100mm | M3 | 47257.47 | 3500.3065 | 2100.1839 | Supply Erect | Pendukung
77 | Double Arm Band 11" (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 228504.3149 | 27235.2156 | 16341.1294 | Supply Erect | 5. Pembesian
78 | Double Arm Band 7 " (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 161422.9421 | 22019.9616 | 13211.9769 | Supply Erect | 5. Pembesian
79 | Double Arm Band 8 " (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 168820.0877 | 23178.9069 | 13907.3441 | Supply Erect | 5. Pembesian
80 | Double Guy Wire Band 8 " (t = 6 mm x 42 mm) HDG TM | B | 101611.9494 | 20281.5435 | 12168.9261 | Supply Erect | 5. Pembesian
81 | Dudukan : Trafo Cantol, Pipa Kabel, PHB-TR, Dudukan Arrester, Dudukan CO | B | PLN | 628031.7557 | 376819.0534 | Erect Only | 5. Pembesian
82 | Dudukan : Trafo Portal, Pipa Kabel, PHB-TR, Dudukan Arrester, Dudukan CO | B | PLN | 897188.2224 | 538312.9334 | Erect Only | 5. Pembesian
83 | Earthing Rod - Arding Pipe 1,5" - 2,5 m | M | 253975.8116 | 115307.773 | 69184.6638 | Supply Erect | 5. Pembesian
84 | Earthing Rod 16 mm - 1,5 m+clamp - TR- besi As, Electroplatting tembaga 35 micron | S | 220258.0262 | 59301.1404 | 35580.6842 | Supply Erect | 5. Pembesian
85 | Earthing Rod 16 mm - 2,5 m+clamp - TM - besi As, Electroplatting tembaga 35 micron | S | 291799.4975 | 56006.6326 | 33603.9796 | Supply Erect | 5. Pembesian
86 | Extension for GW type A - (Acc.MVTIC) | S | PLN | 2965.057 | 1779.0342 | Erect Only | 1. Aksesories dan Material Pendukung
87 | Foot Stucken 30 x 30 mm2 | B | 39148.2 | 7243.4084 | 4346.045 | Supply Erect | Pendukung
88 | Galian & pengurugan kembali Beton Bertulang | B | 0 | 790681.872 | 474409.1232 | Erect Only | Jasa
89 | Galian Aspal & pengurugan kembali Aspal (tebal Aspal 30 cm + dipadatkan) | S | 0 | 395340.936 | 237204.5616 | Erect Only | Jasa
90 | Galian Floor Beton & pengurugan kembali Floor Beton | S | 0 | 461231.092 | 276738.6552 | Erect Only | Jasa
91 | Ground Pipe 3/4" - 2,75 m + Clamp | B | 169566.6998 | 14766.6089 | 8859.9654 | Supply Erect | Pendukung
92 | Ground Wire Clamp Type A - TM - (l=50 mm, t=6 mm, p=300 mm) | S | 59412.054 | 9561.2991 | 5736.7795 | Supply Erect | 5. Pembesian
93 | Ground Wire Clamp Type B - TM - (l=50 mm, t=6 mm, p=300 mm) | S | 59412.054 | 9561.2991 | 5736.7795 | Supply Erect | 5. Pembesian
94 | Guy Wire Rod 5/8" (15 mm) - 2.500 mm - TM | S | 179755.4849 | 32945.078 | 19767.0468 | Supply Erect | 5. Pembesian
95 | Kabel NYFGBY 4 x 16 mm2 | S | 186419.9999 | 29650.5702 | 17790.3421 | Supply Erect | Pendukung
96 | Kabel NYAF 25 mm2 | S | 78762.45 | 11250.9852 | 6750.5911 | Supply Erect | Pendukung
97 | Kanal NP6-60 cm + Bolt&nut | B | 47487.6987 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
98 | Kawat Segel @ 15 cm | B | 419.445 | 2500.2189 | 1500.1314 | Supply Erect | Pendukung
99 | Klem Begel Immundex (All Size) | B | 14904.279 | 650.0569 | 390.0342 | Supply Erect | Pendukung
100 | Klem PVC 1/2" | B | 974.0445 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
101 | L Bow Besi 3" | B | 233275.7348 | 8112.6174 | 4867.5704 | Supply Erect | 5. Pembesian
102 | L Bow PVC 2" | Ls | 36118.875 | 6663.9357 | 3998.3614 | Supply Erect | 5. Pembesian
103 | LBS Motorized + RTU + Kabel Data | B | PLN | 1794376.4447 | 1076625.8668 | Erect Only | MDU
104 | Lemari APP Pengukuran Tidak Langsung Montage 225A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
105 | Lemari APP Pengukuran Tidak Langsung Montage 250A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
106 | Lemari APP Pengukuran Tidak Langsung Montage 300A Aluminium | M | PLN | 348167.9062 | 208900.7437 | Erect Only | MDU
107 | Lemari APP Pengukuran Tidak Langsung Montage 80A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
108 | Line Tap Connector (type press) 35-70/35-70 mm + scoth | M | PLN | 13327.8715 | 7996.7229 | Erect Only | 3. Connector
109 | Line Tap Connector (type press) 6-25/35-70 mm + heatshrink | M | 17536.5294 | 13327.8715 | 7996.7229 | Supply Erect | 3. Connector
110 | Line Tap Connector 150-150 mm + Heat Shrink | S | PLN | 11589.4535 | 6953.6721 | Erect Only | 3. Connector
111 | Line Tap Connector 240/240 mm type G | S | 46418.58 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
112 | Line Tap Connector 50-70/35-50 mm type G | S | PLN | 11589.4535 | 6953.6721 | Erect Only | 3. Connector
113 | Line Tap Connector Al - 35 mm - tipe C | S | 16498.17 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
114 | Line Tap Connector Al 150 - 50 mm type G | B | PLN | 13327.8715 | 7996.7229 | Erect Only | 3. Connector
115 | Line Tap Connector Al 16-35/16-35 mm+heatshrink | B | PLN | 11589.4535 | 6953.6721 | Erect Only | 3. Connector
116 | Line Tap Connector Press / CCO 35-50/10-16 mm BERINSULASI PITA | B | PLN | 11589.4535 | 6953.6721 | Erect Only | 3. Connector
117 | Line Tap Connector Press / CCO 50-70/50-70 mm BERINSULASI PITA | B | PLN | 11589.4535 | 6953.6721 | Erect Only | 3. Connector
118 | Line Tap Connector Press / CCO 70-150 mm | B | PLN | 11589.4535 | 6953.6721 | Erect Only | 3. Connector
119 | Link - HDG | B | 4175.808 | 2000.1751 | 1200.1051 | Supply Erect | 1. Aksesories dan Material Pendukung
120 | LLC 150-240 | B | PLN | 51683.1313 | 31009.8788 | Erect Only | 3. Connector
121 | LLC 70-150 mm | B | PLN | 44299.8268 | 26579.8961 | Erect Only | 3. Connector
122 | Load Break Switch 24 kV - 630 A Manual | B | PLN | 1345782.3335 | 807469.4001 | Erect Only | MDU
123 | Load Segel Kabel Tanah (identifikasi Kabel) | B | 70839.6 | 5794.7267 | 3476.836 | Supply Erect | Pendukung
124 | LV Insulator A1 | B | 76432.2 | 8692.0901 | 5215.2541 | Supply Erect | Pendukung
125 | LVSB ; LV Panel 250A, 2 Jurusan (SPLN D3.016-1 : 2010)-LBS | B | PLN | 701413.9251 | 420848.3551 | Erect Only | MDU
126 | LVSB ; LV Panel 400A, 4 Jurusan (SPLN D3.016-1 : 2010)-LBS | B | PLN | 849080.0146 | 509448.0088 | Erect Only | MDU
127 | m Elektronik (ME) 3 ph - 4 W, teg: 57,7/100V; Arus :5A. Class: 0,5 | B | PLN | 434604.5044 | 260762.7027 | Erect Only | MDU
128 | MCB 230 V - 2 A s/d 35 A - 1 Phasa | B | PLN | 10000.8757 | 6000.5254 | Erect Only | MDU
129 | MCB 3 phs. 230 V - 10 A s/d 50 A | S | PLN | 14486.8168 | 8692.0901 | Erect Only | MDU
130 | MCB 3 phs. 230 V - 10 A s/d 50 A | B | PLN | 12001.0508 | 7200.6305 | Erect Only | MDU
131 | MCCB 100 A, 18 kA, 3 Phs (Fixed) | B | PLN | 81126.1742 | 48675.7045 | Erect Only | MDU
132 | MCCB 125 A, 18 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
133 | MCCB 160 A, 18 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
134 | MCCB 200 A, 18 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
135 | MCCB 225 A, 18 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
136 | MCCB 250 A, 18 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
137 | MCCB 300 A, 36 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
138 | MCCB 63 A, 25 kA, 3 Phs (Adj) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
139 | MCCB 80 A, 18 kA, 3 Phs (Fixed) | B | PLN | 63741.994 | 38245.1964 | Erect Only | MDU
140 | Modem | B | PLN | 40003.5028 | 24002.1017 | Erect Only | MDU
141 | Mountage 53-197 kva | B | 53129.7 | 115010.0706 | 69006.0423 | Supply Erect | Pendukung
142 | Mountage 6,6-41,5 kva | B | 290386.4339 | 75006.5678 | 45003.9407 | Supply Erect | Pendukung
143 | Mountage kWh 5/20 A | B | 0 | 86920.9009 | 52152.5405 | Erect Only | Jasa
144 | Mountage SLM 250 kVA keatas | B | 167162.8139 | 185431.2552 | 111258.7531 | Supply Erect | Pendukung
145 | NA2XSEYBY 3 x 150 mm2;20kV;UG | B | PLN | 41492.3454 | 24895.4073 | Erect Only | MDU
146 | NA2XSEYBY 3 x 240 mm2;20kV;UG | B | PLN | 46102.606 | 27661.5636 | Erect Only | MDU
147 | Name Plate Key Point (Recloser,LBSM,3Way) | B | 61868.1375 | 16225.2348 | 9735.1409 | Supply Erect | Pendukung
148 | NFA2X 4x10 mm | B | PLN | 11763.2953 | 7057.9772 | Erect Only | MDU
149 | NFA2X 4x25 mm | B | PLN | 15066.2895 | 9039.7737 | Erect Only | MDU
150 | NFA2XSEY-T 3 x 150 + 1 x 95 mm2 - CWS | B | PLN | 46102.606 | 27661.5636 | Erect Only | MDU
151 | NFA2X-T;3x70 + 1x70 mm2 | B | PLN | 16257.1742 | 9754.3045 | Erect Only | MDU
152 | NYA 35 sq mm (SPLN) | B | 79269.5124 | 8000.7006 | 4800.4203 | Supply Erect | Pendukung
153 | NYA 50 sq mm (SPLN) | B | 92494.1472 | 11501.0071 | 6900.6042 | Supply Erect | Pendukung
154 | NYAF 35 sq mm u/bawah Arrester (SPLN) | M3 | 92467.1163 | 11501.0071 | 6900.6042 | Supply Erect | Pendukung
155 | NYFGBY 2X10 mm | B | 8482.11 | 19767.0468 | 11860.2281 | Supply Erect | Pendukung
156 | NYFGBY 2X6 mm | S | 98150.13 | 17384.1802 | 10430.5081 | Supply Erect | Pendukung
157 | NYFGBY 4 x 25 mm2 | S | 332014.0199 | 36916.5224 | 22149.9134 | Supply Erect | Pendukung
158 | NYFGBY 4 x 35 mm2 | S | 424105.4998 | 38393.1833 | 23035.91 | Supply Erect | Pendukung
159 | NYFGBY 4X6 mm | S | 136925.4899 | 23178.9069 | 13907.3441 | Supply Erect | Pendukung
160 | NYM 2 x 2,5 mm² | S | 14904.279 | 5750.5035 | 3450.3021 | Supply Erect | Pendukung
161 | NYMHY 2x1.5 mm | S | 11511.435 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
162 | NYMHY 4x4 mm | B | 48469.2 | 8750.7662 | 5250.4597 | Supply Erect | Pendukung
163 | NYY 1 x 150 sq mm - Input (SPLN) | B | PLN | 18458.2612 | 11074.9567 | Erect Only | MDU
164 | NYY 2 X 2,5 mm | B | 21811.14 | 5500.4816 | 3300.289 | Supply Erect | Pendukung
165 | NYY 2 x 6 mm | B | 42289.377 | 6250.5473 | 3750.3284 | Supply Erect | Pendukung
166 | NYY 4x2.5 mm | S | 33928.44 | 6750.5911 | 4050.3547 | Supply Erect | Pendukung
167 | NYY 4x4 mm | S | 46605 | 8750.7662 | 5250.4597 | Supply Erect | Pendukung
168 | NYYHY 2 x 0,75 mm | S | 8966.802 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
169 | NYYHY 4x4 mm | S | 46591.0185 | 17757.5776 | 10654.5465 | Supply Erect | Pendukung
170 | NYYHY 4x6 mm | S | 55926 | 20001.7514 | 12001.0508 | Supply Erect | Pendukung
171 | OA Kast type I C1 Sistim Press cat powder coating | S | PLN | 434604.5044 | 260762.7027 | Erect Only | MDU
172 | OA Kast type III lengkap cat powder coating | S | PLN | 28973.6336 | 17384.1802 | Erect Only | MDU
173 | OA Kast type VI cat powder coating | S | PLN | 260762.7027 | 156457.6216 | Erect Only | MDU
174 | OA Kast type VI,Kecil cat powder coating | S | PLN | 17384.1802 | 10430.5081 | Erect Only | MDU
175 | Ornament Cabel Band 2" x 11" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 231972.659 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
176 | Ornament Cabel Band 2" x 3" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 91811.85 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
177 | Ornament Cabel Band 2" x 4" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 127697.6999 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
178 | Ornament Cabel Band 2" x 5" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 127075.9892 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
179 | Ornament Cabel Band 2" x 6" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 138672.2453 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
180 | Ornament Cabel Band 2" x 7" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 136605.7796 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
181 | Ornament Cabel Band 2" x 8" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 167165.6102 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
182 | Ornament Cabel Band 2" x 9" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 229075.6922 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
183 | Ornament Cabel Band 2,5" x 5" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 181468.6847 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
184 | Ornament Cabel Band 2,5" x 6" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 170280.6884 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
185 | Ornament Cabel Band 2,5" x 8" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 175655.177 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
186 | Ornament Cabel Band 3" - 0,5" + baut u/Clamp MVTIC (l=30 mm, t=3 mm) lengkap Bolt&Nut-HDG | B | 28402.9512 | 11009.9808 | 6605.9885 | Supply Erect | 5. Pembesian
187 | Ornament Cabel Band 3" x 10" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 140861.7482 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
188 | Ornament Cabel Band 3" x 11" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 150553.724 | 9271.5628 | 5562.9377 | Supply Erect | 5. Pembesian
189 | Ornament Cabel Band 3" x 12" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 168257.0993 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
190 | Ornament Cabel Band 3" x 13" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 186537.4445 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
191 | Ornament Cabel Band 3" x 3" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 68502.8253 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
192 | Ornament Cabel Band 3" x 4" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 85830.5643 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
193 | Ornament Cabel Band 3" x 5" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 95112.4161 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
194 | Ornament Cabel Band 3" x 6" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 104799.7314 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
195 | Ornament Cabel Band 3" x 7" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 113653.7493 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
196 | Ornament Cabel Band 3" x 8" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 122071.5444 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
197 | Ornament Cabel Band 3" x 9" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 155199.3104 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
198 | Ornament Cabel Band 4" - 10" - (l=42 mm, t=6 mm) lengkap Bolt&Nut-HDG | B | 155482.6688 | 16804.7075 | 10082.8245 | Supply Erect | 5. Pembesian
199 | Ornament Cabel Band 4" x 10" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 146417.9963 | 9561.2991 | 5736.7795 | Supply Erect | 5. Pembesian
200 | Ornament Cabel Band 4" x 11" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 156625.4234 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
201 | Ornament Cabel Band 4" x 4" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | M | 91827.6957 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
202 | Ornament Cabel Band 4" x 8" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 126894.2297 | 8402.3538 | 5041.4123 | Supply Erect | 5. Pembesian
203 | Ornament Cabel Band 4" x 9" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 136715.7674 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
204 | Panel APP TM | Ls | PLN | 922462.184 | 553477.3104 | Erect Only | MDU
205 | Panel MDP Ukuran (PxLxT) 80x30x107 Tebal 2 mm | Ls | 7550009.9969 | 221499.1342 | 132899.4805 | Supply Erect | Pendukung
206 | Pasir urug | Ls | 664418.5896 | 25841.5657 | 15504.9394 | Supply Erect | Pendukung
207 | Patok Tanda Kabel (Rute Kabel) | Ls | 99028.1682 | 29650.5702 | 17790.3421 | Supply Erect | Pendukung
208 | PHB - TR 2 Jurusan 400 A - SPLN D5.016.1 : 2010 | Ls | PLN | 553747.8356 | 332248.7014 | Erect Only | MDU
209 | Pipa Galvanized 4"(tebal= 3,2 mm) | S | 328285.6199 | 4941.7617 | 2965.057 | Supply Erect | 5. Pembesian
210 | Pipa Air 3"( medium ) (555/U/2009) | B | 265773.4013 | 8692.0901 | 5215.2541 | Supply Erect | Pendukung
211 | Pipa Air 3" - 6 m tbl 2,5 mm (medium) | B | 1045998.8912 | 52152.5405 | 31291.5243 | Supply Erect | Pendukung
212 | Pipa Air 4" - 6 m (555/u/2009) | B | 1292575.693 | 75331.4474 | 45198.8685 | Supply Erect | Pendukung
213 | Pipa Air PVC 2" - 1 m (AW) | B | 41944.5 | 6953.6721 | 4172.2032 | Supply Erect | Pendukung
214 | Pipa Air PVC 2" - 3 m (AW) | B | 97712.9751 | 7533.1447 | 4519.8868 | Supply Erect | Pendukung
215 | Pipa Galvanis 3" (tebal= 2,5 mm) | B | 338106.2255 | 17790.3421 | 10674.2053 | Supply Erect | 5. Pembesian
216 | Pipa Galvanized 2" - 1 m (tebal= 2,3 mm) | B | 165680.7749 | 11530.7773 | 6918.4664 | Supply Erect | 5. Pembesian
217 | Pipa Galvanized 2" - 2 m (tebal= 2,3 mm) | B | 287967.6344 | 13836.9328 | 8302.1597 | Supply Erect | 5. Pembesian
218 | Pipa Galvanized 2" - 5 m (tebal= 2,3 mm) | B | 639861.483 | 19108.1452 | 11464.8871 | Supply Erect | 5. Pembesian
219 | Pipa Galvanized 2" - 6 m (tebal= 2,3 mm) | B | 734314.9044 | 29650.5702 | 17790.3421 | Supply Erect | 5. Pembesian
220 | Pipa Galvanized 3" - 1 m (tebal= 2,5 mm) | B | 282364.7813 | 17790.3421 | 10674.2053 | Supply Erect | 5. Pembesian
221 | Pipa Galvanized 3" - 2 m (medium 2,5 mm) + Plat GW Clamp Type A | B | 430391.5822 | 18119.7929 | 10871.8757 | Supply Erect | 5. Pembesian
222 | Pipa Galvanized 3" - 2 m (medium 2,5 mm) + Plat GW Clamp Type B | B | 463505.3668 | 18119.7929 | 10871.8757 | Supply Erect | 5. Pembesian
223 | Pipa Galvanized 3" - 2 m (medium 2,5 mm) + Plat GW Clamp Type C | B | 445844.8681 | 18119.7929 | 10871.8757 | Supply Erect | 5. Pembesian
224 | Pipa Galvanized 3" - 3 m (medium 2,5 mm) + Plat GW Clamp Type A | B | 448381.1122 | 19767.0468 | 11860.2281 | Supply Erect | 5. Pembesian
225 | Pipa Galvanized 3" - 3 m (medium 2,5 mm) + Plat GW Clamp Type B | B | 378003.8338 | 19767.0468 | 11860.2281 | Supply Erect | 5. Pembesian
226 | Pipa Galvanized 3" - 3 m (medium 2,5 mm) + Plat GW Clamp Type C | B | 409327.9864 | 19767.0468 | 11860.2281 | Supply Erect | 5. Pembesian
227 | Pipa Galvanized 3" - 4 m (medium 2,5 mm) + Plat GW Clamp Type A | B | 378886.5325 | 25038.2593 | 15022.9556 | Supply Erect | 5. Pembesian
228 | Pipa Galvanized 3" - 4 m (medium 2,5 mm) + Plat GW Clamp Type B | B | 378003.8338 | 25038.2593 | 15022.9556 | Supply Erect | 5. Pembesian
229 | Pipa Galvanized 3" - 6 m (tebal= 2,5 mm) | B | 1167947.3983 | 39534.0936 | 23720.4562 | Supply Erect | 5. Pembesian
230 | Pipa Galvanized 3/4" - 1 m (tebal= 1,6 mm) | B | 47149.3464 | 7906.8187 | 4744.0912 | Supply Erect | 5. Pembesian
231 | Pipa Galvanized 3/4" - 2 m (tebal= 1,6 mm) | B | 81870.0714 | 11201.3265 | 6720.7959 | Supply Erect | 5. Pembesian
232 | Pipa Galvanized 3/4" - 2 m (tebal= 1,6 mm) u/Pipa Pelindung | B | 81761.9478 | 10542.425 | 6325.455 | Supply Erect | 5. Pembesian
233 | Pipa Galvanized 3/4" - 6 m (tebal= 1,6 mm) | B | 211162.5944 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
234 | Pipa Galvanized 4" - 1 m (tebal= 3,2 mm) | B | 389725.9234 | 10542.425 | 6325.455 | Supply Erect | 5. Pembesian
235 | Pipa Galvanized 4" - 2 m (medium 3,2 mm) + plat GW Clamp type A | B | 582875.6854 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
236 | Pipa Galvanized 4" - 2 m (medium 3,2 mm) + plat GW Clamp type B | S | 659446.7682 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
237 | Pipa Galvanized 4" - 2 m (medium 3,2 mm) + plat GW Clamp type C | B | 686940.9219 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
238 | Pipa Galvanized 4" - 3 m (medium 3,2 mm) + plat GW Clamp type A | B | 961455.557 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
239 | Pipa Galvanized 4" - 3 m (medium 3,2 mm) + plat GW Clamp type B | B | 960468.4631 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
240 | Pipa Galvanized 4" - 3 m (medium 3,2 mm) + plat GW Clamp type C | B | 988074.4688 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
241 | Pipa Galvanized 4" - 4 m (medium 3,2 mm) + plat GW Clamp type A | B | 1266311.9113 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
242 | Pipa Galvanized 4" - 4 m (medium 3,2 mm) + plat GW Clamp type B | B | 1265325.7495 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
243 | Pipa Galvanized 5" - 5 m (tebal= 4,0 mm) | S | 1150196.4859 | 34262.8811 | 20557.7287 | Supply Erect | 5. Pembesian
244 | Pipa Galvanized 6" - 6 m (tebal= 5,0 mm) | S | 4316281.9929 | 52152.5405 | 31291.5243 | Supply Erect | 5. Pembesian
245 | Plat Copper 5 mm x 50 mm | B | 603958.8553 | 43926.7707 | 26356.0624 | Supply Erect | Pendukung
246 | Pole block | B | 211466.459 | 92246.2184 | 55347.731 | Supply Erect | Pendukung
247 | Pole Bracket 3 - 4" lengkap Bolt & Nut - HDG | B | 39573.2376 | 7243.4084 | 4346.045 | Supply Erect | 5. Pembesian
248 | Polymer Arrester 24 kV - 10 kA | B | PLN | 28973.6336 | 17384.1802 | Erect Only | MDU
249 | Pondasi type D (2 Tiang) (91/u/2009) | B | 946608.1361 | 553747.8356 | 332248.7014 | Supply Erect | Pendukung
250 | Pondasi u/Gaspijp 3" | B | 0 | 98835.234 | 59301.1404 | Supply Erect | Pendukung
251 | Potensial Trafo (PT) 20 kV - Outdoor | B | PLN | 112013.2652 | 67207.9591 | Erect Only | MDU
252 | Potential Transformer kelas maks 0,2 Burden minimal 30 VA | B | PLN | 98835.234 | 59301.1404 | Erect Only | MDU
253 | Power Supply 220 V AC/24 VDC (U/ Relay) | B | 1870957.7242 | 144868.1681 | 86920.9009 | Supply Erect | Pendukung
254 | Preformed Side Tie 150 mm (Semi Cond/non metalic/Composite) | B | PLN | 8692.0901 | 5215.2541 | Erect Only | 6. Pengikat Konduktor
255 | Preformed Side Tie Double 150 mm (Semi Cond/non metalic/Composite) | B | PLN | 8692.0901 | 5215.2541 | Erect Only | 6. Pengikat Konduktor
256 | Preformed Termination 22 mm (542/u/2009) | B | 29039.5755 | 14486.8168 | 8692.0901 | Supply Erect | 1. Aksesories dan Material Pendukung
257 | Relay OCR/DGR | S | PLN | 559970.8471 | 335982.5083 | Erect Only | MDU
258 | Semi Cond. Preformed Side Tie Double 240 mm | S | 191375.9756 | 9851.0354 | 5910.6213 | Supply Erect | 6. Pengikat Konduktor
259 | Bolt & Nut M 3/16 X 1" - Steinless | S | 9101.0244 | 2317.8907 | 1390.7344 | Supply Erect | Pendukung
260 | Bolt & Nut M 3/8"x1,5" - Steinless | S | 6990.75 | 2317.8907 | 1390.7344 | Supply Erect | Pendukung
261 | Bolt & Nut M.12 x 30 - Steinless | B | 18642 | 2317.8907 | 1390.7344 | Supply Erect | Pendukung
262 | Klem 5/8 | B | 379.3647 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
263 | Ornament Cabel Band 4" x 13" - TM lengkap Bolt&Nut-HDG | M | 179860.8122 | 10140.7718 | 6084.4631 | Supply Erect | 5. Pembesian
264 | Ornament Cabel Band 4" x 3" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | M | 83246.7831 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
265 | Ornament Cabel Band 4" x 5" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | M | 100237.1019 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
266 | Penghalang panjat 6" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | B | 107170.9938 | 13327.8715 | 7996.7229 | Supply Erect | 5. Pembesian
267 | Penghalang panjat 7" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | B | 134661.419 | 14486.8168 | 8692.0901 | Supply Erect | 5. Pembesian
268 | Penghalang panjat 8" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | B | 154033.2533 | 15645.7622 | 9387.4573 | Supply Erect | 5. Pembesian
269 | Pipa Galvanized 4" - 4 m (tebal= 3,2 mm) | M | 1470266.5764 | 19767.0468 | 11860.2281 | Supply Erect | 5. Pembesian
270 | Pipa Galvanized 4" - 5 m (tebal= 3,2 mm) | B | 1627257.383 | 23061.5546 | 13836.9328 | Supply Erect | 5. Pembesian
271 | Pipa Galvanized 4" - 6 m (tebal= 3,2 mm) | S | 1860104.3518 | 30968.3733 | 18581.024 | Supply Erect | 5. Pembesian
272 | Pipa Galvanized 5" - 4 m (tebal= 4,0 mm) | S | 985883.1017 | 26356.0624 | 15813.6374 | Supply Erect | 5. Pembesian
273 | Plastic Strap | B | 2355.4167 | 2317.8907 | 1390.7344 | Supply Erect | Pendukung
274 | Single Arm Band 6" (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG | S | 99476.5083 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
275 | Single Arm Band 6" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | S | 113654.6814 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
276 | Single Arm Band 7" (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG | S | 103080.939 | 11009.9808 | 6605.9885 | Supply Erect | 5. Pembesian
277 | Single Arm Band 7" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | S | 107666.871 | 11009.9808 | 6605.9885 | Supply Erect | 5. Pembesian
278 | AAAC - S 70 sq mm | B | PLN | 4656.5021 | 2793.9013 | Erect Only | MDU
279 | Anchor Rod Clamp + Bolt & Nut M 16 x 75 | B | 33555.6 | 15001.3136 | 9000.7881 | Supply Erect | Pendukung
280 | Arm Tie Band 11"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 117831.4215 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
281 | Arm Tie Band 3"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 74320.0614 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
282 | Arm Tie Band 4"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 79152.0678 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
283 | Arm Tie Band 8"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 83737.0677 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
284 | Arm Tie Band 9"(TM) (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 97200.3201 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
285 | Baut mata | B | 25810.7811 | 4500.3941 | 2700.2364 | Supply Erect | 5. Pembesian
286 | BC 50 mm (Bare Conductor) | B | 91011.1761 | 4056.3087 | 2433.7852 | Supply Erect | Pendukung
287 | Begel 1,5" U - ( (t = 6 mm x 42 mm) HDG TM | B | 25786.5465 | 5794.7267 | 3476.836 | Supply Erect | 5. Pembesian
288 | Begel 12" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 95988.5901 | 7011.6193 | 4206.9716 | Supply Erect | 5. Pembesian
289 | Begel 2" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 33951.7425 | 6374.1994 | 3824.5196 | Supply Erect | 5. Pembesian
290 | Begel 3" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 39812.7873 | 6663.9357 | 3998.3614 | Supply Erect | 5. Pembesian
291 | Begel 4" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 45459.4491 | 6663.9357 | 3998.3614 | Supply Erect | 5. Pembesian
292 | Begel 7" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 61572.6618 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
293 | Begel 8" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 66144.6123 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
294 | Begel 9" U - (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 70955.1804 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
295 | Besi siku L 50x50x3,5 mm x 1750 mm - penghalang depan | S | 210412.2539 | 16472.539 | 9883.5234 | Supply Erect | 5. Pembesian
296 | Besi siku L 50x50x3,5 mm x 2000 mm - dudukan bordes | S | 232167.4679 | 16472.539 | 9883.5234 | Supply Erect | 5. Pembesian
297 | Besi Siku L 50x50x3,5 mm x 2500 mm | S | 328434.7559 | 17131.4406 | 10278.8643 | Supply Erect | 5. Pembesian
298 | Besi siku L 50x50x3,5 mm x 465 mm - pagar samping | S | 57823.7556 | 8112.6174 | 4867.5704 | Supply Erect | 5. Pembesian
299 | Besi Siku L 50x50x3,5 mm x 6000 mm | S | 691152.1497 | 51683.1313 | 31009.8788 | Supply Erect | 5. Pembesian
300 | Besi siku L 50x50x3,5 mm x 900 mm - dudukan Jointing | S | 108257.8224 | 13327.8715 | 7996.7229 | Supply Erect | 5. Pembesian
301 | Beton Block 400 x 400 x 100 - kotak | S | 187872.2117 | 131780.312 | 79068.1872 | Supply Erect | Pendukung
302 | Compresion Joint Sleeve Joint CU-CU 16 + Scooth/heatshrink | B | 15535.3107 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
303 | Compresion Joint Sleeve Non Tension 240 mm - Al | B | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
304 | Compresion Joint Sleeve Non Tension 70 mm - Al-Cu | B | PLN | 12168.9261 | 7301.3557 | Erect Only | 3. Connector
305 | Compresion Joint Sleeve Non Tension 95 mm - Al | B | PLN | 13327.8715 | 7996.7229 | Erect Only | 3. Connector
306 | Compresion Joint Sleeve Non Tension 95 mm - Cu/Cu | B | 107999.6307 | 13327.8715 | 7996.7229 | Supply Erect | 3. Connector
307 | Cousen/Thimble - (t = 2,5 mm) | B | 10646.4462 | 2607.627 | 1564.5762 | Supply Erect | 5. Pembesian
308 | Cover Konduktor | B | PLN | 46123.1092 | 27673.8655 | Erect Only | 4. Cover Bushing
309 | Cover Silicon Bushing Trafo | B | PLN | 16225.2348 | 9735.1409 | Erect Only | 4. Cover Bushing
310 | Cover Silicon Fuse Cut Out (Atas) | B | PLN | 16225.2348 | 9735.1409 | Erect Only | 4. Cover Bushing
311 | Cover Silicon Fuse Cut Out (Bawah) | B | PLN | 16225.2348 | 9735.1409 | Erect Only | 4. Cover Bushing
312 | Cover Silicon Lightning Arrester | B | PLN | 16225.2348 | 9735.1409 | Erect Only | 4. Cover Bushing
313 | Cross Arm Clevis - TM - (l=42 mm, t=6 mm, p=35 mm) - HDG | B | 43910.2989 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
314 | Cross Arm UNP 100 - 1000 mm - (l=50mm, t=5mm, tgg=100mm) | B | 258990.5096 | 19108.1452 | 11464.8871 | Supply Erect | 5. Pembesian
315 | Cross Arm UNP 100 - 1200 mm - (l=50 mm, t=5 mm, tgg=100 mm) | B | 404661.8938 | 22402.653 | 13441.5918 | Supply Erect | 5. Pembesian
316 | Cross Arm UNP 100 - 1500 mm - (l=50 mm, t=5 mm, tgg=100 mm) | B | PLN | 29650.5702 | 17790.3421 | Erect Only | 5. Pembesian
317 | Cross Arm UNP 100 - 1800mm (l=50 mm, t=5 mm, tgg=100 mm) | B | PLN | 44475.8553 | 26685.5132 | Erect Only | 5. Pembesian
318 | Cross Arm UNP 100 - 2000 mm - (l=50 mm, t=5 mm, tgg=100 mm)-Tarik | B | PLN | 46123.1092 | 27673.8655 | Erect Only | 5. Pembesian
319 | Cross Arm UNP 100 - 2000 mm - (l=50 mm, t=5 mm, tgg=100 mm)-Tumpu | B | PLN | 46123.1092 | 27673.8655 | Erect Only | 5. Pembesian
320 | Cross Arm UNP 100 - 250 mm - (l=50 mm, t=5 mm, tgg=100 mm) - TR | B | 92126.8998 | 11009.9808 | 6605.9885 | Supply Erect | 5. Pembesian
321 | Cross Arm UNP 100 - 2500 mm - (l=50 mm, t=5 mm, tgg=100 mm) | B | PLN | 59301.1404 | 35580.6842 | Erect Only | 5. Pembesian
322 | Cross Arm UNP 100 - 300 mm - (l=50 mm, t=5 mm, tgg=100 mm) -TM | B | 103428.6123 | 11589.4535 | 6953.6721 | Supply Erect | 5. Pembesian
323 | Cross Arm UNP 65 - 2500 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | S | 396664.4758 | 39534.0936 | 23720.4562 | Supply Erect | 5. Pembesian
324 | Cross Arm UNP 65 - 500 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | S | 84922.6989 | 10140.7718 | 6084.4631 | Supply Erect | 5. Pembesian
325 | Cross Arm UNP 65 - 6000 mm - (l=42 mm, t=3,2 mm, tgg=65 mm) | S | 873870.7805 | 79068.1872 | 47440.9123 | Supply Erect | 5. Pembesian
326 | Cross Arm UNP 80 - 2000 (l=42 mm,t=3,5 mm,tgg=80 mm) | S | 369781.7797 | 46123.1092 | 27673.8655 | Supply Erect | 5. Pembesian
327 | Cross Arm UNP 80 - 600 (l=42 mm,t=3,5 mm,tgg=80 mm) | S | 105762.5907 | 9561.2991 | 5736.7795 | Supply Erect | 5. Pembesian
328 | Cross Arm UNP 80 - 6000 (l=45 mm,t=3,5 mm,tgg=80 mm) | S | 934227.0518 | 85657.2028 | 51394.3217 | Supply Erect | 5. Pembesian
329 | Cross Arm UNP 80 - 750 (l=42 mm,t=3,5 mm,tgg=80 mm) | B | 136783.8107 | 9561.2991 | 5736.7795 | Supply Erect | 5. Pembesian
330 | Cross Arm UNP 80 - 900 (l=42 mm,t=3,5 mm,tgg=80 mm) | B | 158644.352 | 13907.3441 | 8344.4065 | Supply Erect | 5. Pembesian
331 | Double Arm Band 4" (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 134495.5052 | 19122.5982 | 11473.5589 | Supply Erect | 5. Pembesian
332 | Double Arm Band 5" (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 145215.5873 | 20281.5435 | 12168.9261 | Supply Erect | 5. Pembesian
333 | Double Arm Band 6" (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 152731.1096 | 20861.0162 | 12516.6097 | Supply Erect | 5. Pembesian
334 | Double Arm Band 9 " (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | B | 189984.3503 | 24337.8522 | 14602.7113 | Supply Erect | 5. Pembesian
335 | Double Guy Wire Band 7 " (t = 6 mm x 33 mm) HDG TR | B | 93656.4759 | 19122.5982 | 11473.5589 | Supply Erect | 5. Pembesian
336 | Ground Wire Clamp Type C - TM - (l=50 mm, t=6 mm, p=300 mm) | B | 80630.3784 | 9561.2991 | 5736.7795 | Supply Erect | 5. Pembesian
337 | Guy Insulator LV (TR) - belimbing | B | 59374.77 | 6500.5692 | 3900.3415 | Supply Erect | Pendukung
338 | Guy Insulator MV (TM) - belimbing | B | 85302.9957 | 7500.6568 | 4500.3941 | Supply Erect | Pendukung
339 | Guy Wire Rod 5/8" (15 mm) - 1.800 mm - TR | B | 142553.5097 | 32945.078 | 19767.0468 | Supply Erect | 5. Pembesian
340 | NFA2XSEY-T 3 x 240 + 1 x 95 mm2 - CWS | B | PLN | 55323.1272 | 33193.8763 | Erect Only | MDU
341 | NYM 2x1,5 mm | S | 8668.53 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
342 | NYMHY 4x6 mm | B | 69068.61 | 9500.8319 | 5700.4992 | Supply Erect | Pendukung
343 | NYY 4 x 4 mm u/Wirring Panel | B | 44407.1082 | 15001.3136 | 9000.7881 | Supply Erect | Pendukung
344 | NYY 4 x 6 mm u/Wirring Panel | B | 66782.1687 | 20001.7514 | 12001.0508 | Supply Erect | Pendukung
345 | NYY 4 x 70 sq mm - Output (SPLN) | B | PLN | 31870.997 | 19122.5982 | Erect Only | MDU
346 | Open Delta for Relay DGR | B | 38216.1 | 419978.1353 | 251986.8812 | Supply Erect | Pendukung
347 | Ornament Cabel Band 2" x 10" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 179384.5091 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
348 | Ornament Cabel Band 2" x 12" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 242998.4699 | 9271.5628 | 5562.9377 | Supply Erect | 5. Pembesian
349 | Ornament Cabel Band 2" x 13" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 258020.1935 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
350 | Ornament Cabel Band 4" - 3 u/Ferlengk - (l=42 mm, t=6 mm) lengkap Bolt&Nut-HDG | B | 80016.1245 | 16804.7075 | 10082.8245 | Supply Erect | 5. Pembesian
351 | Ornament Cabel Band 4" x 12" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 169778.2865 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
352 | Ornament Cabel Band 4" x 7" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | B | 118366.4469 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
353 | Pin Isolator Indoor TM | B | 511886.0173 | 23178.9069 | 13907.3441 | Supply Erect | Pendukung
354 | Pipa Galvanis 2" | B | 173696.8349 | 11530.7773 | 6918.4664 | Supply Erect | 5. Pembesian
355 | Pipa Galvanized 2" - 3 m (tebal= 2,3 mm) | B | 346940.6693 | 15154.7359 | 9092.8415 | Supply Erect | 5. Pembesian
356 | Pipa Galvanized 2" - 4 m (tebal= 2,3 mm) | B | 418648.0543 | 15813.6374 | 9488.1825 | Supply Erect | 5. Pembesian
357 | Pipa Galvanized 3" - 4 m (medium 2,5 mm) + Plat GW Clamp Type C | B | 409327.9864 | 25038.2593 | 15022.9556 | Supply Erect | 5. Pembesian
358 | Pipa Galvanized 3/4" - 3 m (tebal= 1,6 mm) | B | 120473.925 | 11860.2281 | 7116.1368 | Supply Erect | 5. Pembesian
359 | Pipa Galvanized 3/4" - 4 m (tebal= 1,6 mm) | B | 159176.5811 | 11530.7773 | 6918.4664 | Supply Erect | 5. Pembesian
360 | Pipa Galvanized 4" - 4 m (medium 3,2 mm) + plat GW Clamp type C | B | 1292930.8231 | 25697.1608 | 15418.2965 | Supply Erect | 5. Pembesian
361 | Pipa Galvanized 5" - 6 m (tebal= 4,0 mm) | B | 1956960.727 | 46123.1092 | 27673.8655 | Supply Erect | 5. Pembesian
362 | Pipa Galvanized 6" - 4 m (tebal= 5,0 mm) | B | 3714356.9799 | 28973.6336 | 17384.1802 | Supply Erect | 5. Pembesian
363 | Pipa Galvanized 6" - 5 m (tebal= 5,0 mm) | B | 4322613.7482 | 38245.1964 | 22947.1178 | Supply Erect | 5. Pembesian
364 | PIPA HDPE 6" | B | 497011.5655 | 245327.8005 | 147196.6803 | Supply Erect | Pendukung
365 | Pipa PVC 1 1/4" | B | 21354.411 | 11589.4535 | 6953.6721 | Supply Erect | Pendukung
366 | Pipa PVC 2" | B | 31202.0475 | 6953.6721 | 4172.2032 | Supply Erect | Pendukung
367 | Single Arm Band 10" (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG | S | 127520.6009 | 17384.1802 | 10430.5081 | Supply Erect | 5. Pembesian
368 | Single Arm Band 10" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | S | 136543.3289 | 18543.1255 | 11125.8753 | Supply Erect | 5. Pembesian
369 | Single Arm Band 4" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | S | 82742.517 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
370 | Single Arm Band 5" (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG | S | 86414.991 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
371 | Single Arm Band 5" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | B | 91224.627 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
372 | Kabel NYAF 2,5 mm | B | 7456.8 | 5500.4816 | 3300.289 | Supply Erect | Pendukung
373 | AAAC - 110 sqmm | M | PLN | 3991.2875 | 2394.7725 | Erect Only | MDU
374 | AAAC - 150 sq mm | M | PLN | 4656.5021 | 2793.9013 | Erect Only | MDU
375 | AAAC - 240 sq mm | M | PLN | 5321.7167 | 3193.03 | Erect Only | MDU
376 | AAAC - 55 sqmm | M | PLN | 3514.7142 | 2108.8285 | Erect Only | MDU
377 | AAAC - 70 sq mm | M | PLN | 2474.4317 | 1484.659 | Erect Only | MDU
378 | AAAC - 95 sqmm | M | PLN | 3991.2875 | 2394.7725 | Erect Only | MDU
379 | AAAC - S 150 sq mm | M | PLN | 5321.7167 | 3193.03 | Erect Only | MDU
380 | Besi siku L 50x50x3,5 mm x 1650 mm - pagar miring | B | 200811.6239 | 15154.7359 | 9092.8415 | Supply Erect | 5. Pembesian
381 | Bimetal Connector Al/Cu -150/50 mm | S | 77434.2075 | 20281.5435 | 12168.9261 | Supply Erect | 3. Connector
382 | Bolt & Nut 3/16 x 0,5" | S | 6354.1257 | 2317.8907 | 1390.7344 | Supply Erect | 5. Pembesian
383 | Bolt & Nut M.14 x 30 - HDG | M | 11586.003 | 2317.8907 | 1390.7344 | Supply Erect | 5. Pembesian
384 | Bolt & Nut M.14x 25 - HDG | M | 12707.3193 | 2607.627 | 1564.5762 | Supply Erect | 5. Pembesian
385 | Bolt M.12 x 30 + Washer Cu | B | 16722.8061 | 2607.627 | 1564.5762 | Supply Erect | 5. Pembesian
386 | Box berisi RTU protocol DNP 3, IEC (siap komunikasi GSM) | B | PLN | 347683.6035 | 208610.1621 | Erect Only | MDU
387 | C Clamp Cu 50 mm | S | PLN | 13327.8715 | 7996.7229 | Erect Only | 3. Connector
388 | Cable Power ; NFA2X ; 4 x 35 mm | S | PLN | 13327.8715 | 7996.7229 | Erect Only | MDU
389 | Commisioning test GD termasuk NIDI | S | 0 | 434604.5044 | 260762.7027 | Erect Only | Jasa
390 | Compresion Joint Sleeve Joint CU-CU 35 + Scooth/heatshrink | B | 46232.16 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
391 | Compresion Joint Sleeve Joint CU-CU 50 + Scooth/heatshrink | B | 64081.875 | 12168.9261 | 7301.3557 | Supply Erect | 3. Connector
392 | Compresion Joint Sleeve Joint CU-CU 70 + Scooth/heatshrink | B | 75469.3407 | 12168.9261 | 7301.3557 | Supply Erect | 3. Connector
393 | Compresion Joint Sleeve Non Tension 150 mm - Al | B | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
394 | Cross Arm UNP 100 - 3000 mm - (l=50 mm, t=5 mm, tgg=100 mm) | B | PLN | 69184.6638 | 41510.7983 | Erect Only | 5. Pembesian
395 | Cross Arm UNP 100 - 500 mm - (l=50 mm, t=5 mm, tgg=100 mm) | B | 153009.8075 | 13327.8715 | 7996.7229 | Supply Erect | 5. Pembesian
396 | Cross Arm UNP 100 - 900 mm - (l=50mm, t=5mm, tgg=100mm) | S | 233091.179 | 18449.2437 | 11069.5462 | Supply Erect | 5. Pembesian
397 | Cross Arm UNP 60 - 750 (l=42 mm, t=3,2 mm, tgg=60 mm) | S | 103418.3592 | 13907.3441 | 8344.4065 | Supply Erect | 5. Pembesian
398 | Disconnecting Switch 20 kV - In Door - 25,8 kV (3 phasa) | M | PLN | 184582.6119 | 110749.5671 | Erect Only | MDU
399 | Disconnecting Switch 25,8 kV - 800 A out door (3 phasa) | M | PLN | 206732.5253 | 124039.5152 | Erect Only | MDU
400 | Dop tutup pipa 4" | M | 19201.26 | 2500.2189 | 1500.1314 | Supply Erect | Pendukung
401 | Double Arm Band 10 " (t = 6 mm x 42 mm) HDG TM lengkap Bolt&Nut-HDG | S | 196855.7915 | 25496.7976 | 15298.0786 | Supply Erect | 5. Pembesian
402 | Dynabolt 12 x 60 mm | B | 43501.107 | 3250.2846 | 1950.1708 | Supply Erect | Pendukung
403 | Dynabolt M.8 x 40 | B | 200401.4999 | 1500.1314 | 900.0788 | Supply Erect | Pendukung
404 | Extension for GW type B - (Acc.MVTIC) | M | PLN | 2965.057 | 1779.0342 | Erect Only | 1. Aksesories dan Material Pendukung
405 | Fixing Collar 1.5 " | B | 12909.585 | 13178.0312 | 7906.8187 | Supply Erect | 5. Pembesian
406 | Galian tanah & pengurugan kembali | S | 0 | 263560.624 | 158136.3744 | Erect Only | Jasa
407 | Galian tanah & pengurugan kembali di bawah PV blok/tembok/plesteran | S | 0 | 296505.702 | 177903.4212 | Erect Only | Jasa
408 | Galian Tanah (0,7 x 0,4 x 1) | S | 0 | 263560.624 | 158136.3744 | Erect Only | Jasa
409 | Galvanized Steel Wire 22 mm - HDG | S | 12478.9548 | 3294.5078 | 1976.7047 | Supply Erect | 2. Conductor Wire and Cable
410 | Galvanized Steel Wire 35 mm - HDG | S | 21237.8985 | 3558.0684 | 2134.8411 | Supply Erect | 2. Conductor Wire and Cable
411 | Galvanized Steel Wire 70 mm - HDG | S | 34939.7685 | 3821.629 | 2292.9774 | Supply Erect | 2. Conductor Wire and Cable
412 | Gembok Biasa (Setara Solex) | S | 326048.5799 | 5000.4379 | 3000.2627 | Supply Erect | Pendukung
413 | Gembok Electronic | S | PLN | 20001.7514 | 12001.0508 | Erect Only | MDU
414 | Guy Wire Timble (t=2,5 mm) | S | 5298.9885 | 3821.629 | 2292.9774 | Supply Erect | 5. Pembesian
415 | heatshrink | S | 131909.8598 | 13001.1384 | 7800.683 | Supply Erect | Pendukung
416 | Insulated Tension Joint 70 mm | S | 49401.3 | 7243.4084 | 4346.045 | Supply Erect | 3. Connector
417 | Insulator - Pin Post Insulator 20 kV;12,5 kN - Porcelain (Tumpu) | S | PLN | 26356.0624 | 15813.6374 | Erect Only | MDU
418 | Insulator - Strain Insulator 20 kV lengkap (SIR) Porcelain (Tarik) | S | PLN | 29650.5702 | 17790.3421 | Erect Only | MDU
419 | Iron Wire 6 mm | S | 8249.085 | 5794.7267 | 3476.836 | Supply Erect | 6. Pengikat Konduktor
420 | Joint Sleeve AL-CU 25 - 16 mm | S | 30060.225 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
421 | Jointing CU-CU 95 + Scooth/Heatshrink | S | 98429.76 | 1647253.9 | 988352.34 | Supply Erect | 3. Connector
422 | Kabel NYFGBY 4 x 10 mm2 | S | 131426.0999 | 26356.0624 | 15813.6374 | Supply Erect | Pendukung
423 | Kabel NYFGBY 4 x 50 mm2 | S | 553536.9058 | 40608.1746 | 24364.9048 | Supply Erect | Pendukung
424 | Kabel NYFGBY 4 x 70 mm2 | S | 773599.191 | 42454.0007 | 25472.4004 | Supply Erect | Pendukung
425 | Kabel NYFGBY 4 x 95 mm2 | S | 1539624.1374 | 42454.0007 | 25472.4004 | Supply Erect | Pendukung
426 | Kabel Duct 5 Cm x5 Cm | B | 71492.07 | 10000.8757 | 6000.5254 | Supply Erect | Pendukung
427 | Kabel NYAF 16 mm2 | B | 37284 | 10000.8757 | 6000.5254 | Supply Erect | Pendukung
428 | Kabel NYAF 4 mm2 | B | 10253.1 | 5500.4816 | 3300.289 | Supply Erect | Pendukung
429 | Kabel Tray Besi lebar 400 mm | B | 549006.8998 | 55374.7836 | 33224.8701 | Supply Erect | Pendukung
430 | Klem kabel/Cable suport (508/u/2009) | B | 1398.15 | 3750.3284 | 2250.197 | Supply Erect | 1. Aksesories dan Material Pendukung
431 | Knee + sook 3" besi | S | 217355.4668 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
432 | Knee 2" | S | 20972.25 | 6250.5473 | 3750.3284 | Supply Erect | Pendukung
433 | Knee 3" PVC | B | 30293.25 | 6250.5473 | 3750.3284 | Supply Erect | Pendukung
434 | Kubikel (1 LBS Incoming, kubikel ming dan kubikel Out Going (draw out) minimal rating arus 1250 A) digunakan daya > 20 MVA s/d 30 MVA | S | PLN | 1983421.2184 | 1190052.731 | Erect Only | MDU
435 | Kubikel (1 LBS Incoming, kubikel ming dan kubikel Out Going (draw out) minimal rating arus 630 A) maks digunakan s/d Daya 20 MVA | S | PLN | 1983421.2184 | 1190052.731 | Erect Only | MDU
436 | Kubikel (2 LBS Incoming dilengkapi Motorized, kubikel ming dan kubikel Out Going (draw out) minimal rating arus 1250 A) digunakan daya > 20 MVA s/d 30 MVA | B | PLN | 3347023.306 | 2008213.9836 | Erect Only | MDU
437 | Kubikel (2 LBS Incoming dilengkapi Motorized, kubikel ming dan kubikel Out Going (draw out) minimal rating arus 630 A) maks digunakan s/d Daya 20 MVA | B | PLN | 3347023.306 | 2008213.9836 | Erect Only | MDU
438 | KUBIKEL CBO. | B | PLN | 981311.2019 | 588786.7211 | Erect Only | MDU
439 | KUBIKEL LBS INC. | B | PLN | 1471966.8028 | 883180.0817 | Erect Only | MDU
440 | kWh m 3 phs. 220/380 V - 20/60 A ST Clas 1 Elektronik | B | PLN | 234686.4324 | 140811.8594 | Erect Only | MDU
441 | kWh m 3 phs. Elektronik lengkap dengan Modem | B | PLN | 260762.7027 | 156457.6216 | Erect Only | MDU
442 | kWh m Electronic Anti Temper 1 Phasa 2 kawat 50 Hz, 5(20) klass 1 lengkap MCB | B | PLN | 60005.2542 | 36003.1525 | Erect Only | MDU
443 | kWh m TM Kelas 0,5s dilengkapi fasilitas AMR | B | PLN | 231789.069 | 139073.4414 | Erect Only | MDU
444 | L bouw 3 " PVC | B | 68245.5657 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
445 | L Bow 2" besi + sock draad dalam | B | 157110.1154 | 11009.9808 | 6605.9885 | Supply Erect | 5. Pembesian
446 | L Bow 3" besi + sock draad dalam | B | 238619.4641 | 12168.9261 | 7301.3557 | Supply Erect | 5. Pembesian
447 | L Bow Besi 2" | S | 130109.9747 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
448 | L Bow PVC 3" | M | 62776.935 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
449 | Large Angle Assembly (LAA) + komplit | M | 120240.9 | 57947.2673 | 34768.3604 | Supply Erect | 1. Aksesories dan Material Pendukung
450 | LBS Motorized + RTU + Kabel Data | M | PLN | 197670.468 | 118602.2808 | Erect Only | MDU
451 | Lemari APP Pengukuran Tidak Langsung Montage 100A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
452 | Lemari APP Pengukuran Tidak Langsung Montage 125A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
453 | Lemari APP Pengukuran Tidak Langsung Montage 160A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
454 | Lemari APP Pengukuran Tidak Langsung Montage 200A Aluminium | M | PLN | 329450.78 | 197670.468 | Erect Only | MDU
455 | Lightning Arrester 24 kV - 10 kA | M | PLN | 45198.8685 | 27119.3211 | Erect Only | MDU
456 | Line Tap Connector 10-25/10-25 mm type G | M | 18502.185 | 11589.4535 | 6953.6721 | Supply Erect | 3. Connector
457 | NYAF 1,5 mm | S | 4059.2955 | 5500.4816 | 3300.289 | Supply Erect | Pendukung
458 | NYMHY 2x2,5 mm | S | 30293.25 | 5500.4816 | 3300.289 | Supply Erect | Pendukung
459 | NYMHY 4 x 2,5mm | B | 44834.01 | 8750.7662 | 5250.4597 | Supply Erect | Pendukung
460 | Ornament Cabel Band 4" x 6" - TM lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 109518.0216 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
461 | Ornament Cabel Band 6" | S | 46092.345 | 7533.1447 | 4519.8868 | Supply Erect | 5. Pembesian
462 | Ornament Cabel Band 9/10." - 3/4" lengkap Bolt&Nut-HDG lengkap Bolt&Nut-HDG | S | 28317.198 | 10720.2444 | 6432.1467 | Supply Erect | 5. Pembesian
463 | Penghalang Kayu Jati 4x6x2500 | S | 176582.6165 | 28973.6336 | 17384.1802 | Supply Erect | 5. Pembesian
464 | Penghalang panjat 10" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | S | 145841.0264 | 18543.1255 | 11125.8753 | Supply Erect | 5. Pembesian
465 | Penghalang panjat 11" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | B | 165856.9418 | 21440.4889 | 12864.2933 | Supply Erect | 5. Pembesian
466 | Penghalang panjat 5" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | B | 112904.3409 | 13327.8715 | 7996.7229 | Supply Erect | 5. Pembesian
467 | Penghalang panjat 9" HDG (l=35 mm, t=3,2 mm, besi 10 mm) lengkap Bolt&Nut-HDG | B | 220674.6749 | 17384.1802 | 10430.5081 | Supply Erect | 5. Pembesian
468 | Perlengkapan Panel MDP Lengkap (Pencabangan) (5 Plg + 1 Cad) | B | 7384746.8028 | 184582.6119 | 110749.5671 | Supply Erect | Pendukung
469 | Pierching Tap Connector 6-25/6-25 mm | B | 18408.975 | 4925.5177 | 2955.3106 | Supply Erect | 3. Connector
470 | Pierching Tap Connector 70/70 mm - Al/Al | B | PLN | 6374.1994 | 3824.5196 | Erect Only | 3. Connector
471 | Pipa PVC 3/4" | M | 10446.9768 | 3476.836 | 2086.1016 | Supply Erect | Pendukung
472 | Pipa PVC 4" | S | 106567.9251 | 3187.0997 | 1912.2598 | Supply Erect | Pendukung
473 | Pipa PVC 4" & Tutup jumperan | B | 92224.7703 | 12748.3988 | 7649.0393 | Supply Erect | Pendukung
474 | Plat Baut Mata | B | 27963 | 2500.2189 | 1500.1314 | Supply Erect | Pendukung
475 | Plat Brodes Uk. Min. 2,2 mm + rangka besi siku L 30 x 40 mm (dicat anti karat) | B | 502043.9734 | 93564.0215 | 56138.4129 | Supply Erect | 5. Pembesian
476 | Plat Cooper 4 x 40 mm | B | 259161.0839 | 46123.1092 | 27673.8655 | Supply Erect | 1. Aksesories dan Material Pendukung
477 | Plat Copper 4 mm x 50 mm | B | 442677.5923 | 37651.5177 | 22590.9106 | Supply Erect | Pendukung
478 | Plat Tembaga 20 X 2 mm | B | 129579.6098 | 23061.5546 | 13836.9328 | Supply Erect | 1. Aksesories dan Material Pendukung
479 | Plat Tembaga Uk.400 x 80 x 5 (untuk jumper Termination) | B | 422305.6147 | 26356.0624 | 15813.6374 | Supply Erect | 1. Aksesories dan Material Pendukung
480 | Plat Tembaga Uk.600 x 50 x 5 (untuk jumper Termination) | B | 395729.5795 | 29650.5702 | 17790.3421 | Supply Erect | 1. Aksesories dan Material Pendukung
481 | Plate Cooper 20x3 mm | B | 153796.4999 | 23061.5546 | 13836.9328 | Supply Erect | Pendukung
482 | PMCB Out Door 24 kV lengkap | B | PLN | 1635518.6698 | 981311.2019 | Erect Only | MDU
483 | Pole Block Band 12" - TM (557/u/2009) | B | 73984.5054 | 23061.5546 | 13836.9328 | Supply Erect | Pendukung
484 | Pole Bracket 6" - 7" lengkap Bolt & Nut - HDG | B | 41270.5917 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
485 | Polymer Cut Out Switch 24 kV + Fuse | B | PLN | 18543.1255 | 11125.8753 | Erect Only | MDU
486 | Pondasi type A (1 tiang) (91/u/2009) | B | 492236.4172 | 295332.179 | 177199.3074 | Supply Erect | Pendukung
487 | Pondasi type B | B | 342503.8733 | 295332.179 | 177199.3074 | Supply Erect | Pendukung
488 | Pondasi Type I ukuran 300x300x600 | B | 639907.1559 | 442998.2685 | 265798.9611 | Supply Erect | Pendukung
489 | Power Supply - 10A - 110VDC | B | 1148580.2245 | 12501.0946 | 7500.6568 | Supply Erect | Pendukung
490 | Power Supply in 220 V AC OT 48 VDC 7A | B | 727383.8088 | 144868.1681 | 86920.9009 | Supply Erect | Pendukung
491 | Preformed Termination 35 mm (542/u/2009) | B | 52034.4825 | 17384.1802 | 10430.5081 | Supply Erect | 1. Aksesories dan Material Pendukung
492 | Preformed Termination 70 mm (542/u/2009) | S | 76420.0827 | 20281.5435 | 12168.9261 | Supply Erect | 1. Aksesories dan Material Pendukung
493 | Preformed Top Tie 150 mm (Semi Cond/non metalic/Composite) | S | PLN | 11589.4535 | 6953.6721 | Erect Only | 6. Pengikat Konduktor
494 | Recloser 24 kV-630 A Motorized 12,5 kA c/w PTCC | S | PLN | 2242970.5559 | 1345782.3335 | Erect Only | MDU
495 | Round Copper 60 mm | S | 220208.6249 | 43460.4504 | 26076.2703 | Supply Erect | Pendukung
496 | Safety Cost K3L | S | 0 | 314015.8778 | 188409.5267 | Erect Only | Jasa
497 | Saklar Utama MCCB 400 A 1000V 50 Hz | S | PLN | 65890.156 | 39534.0936 | Erect Only | MDU
498 | Semi Cond. Preformed Side Tie 240 mm | B | PLN | 9851.0354 | 5910.6213 | Erect Only | 6. Pengikat Konduktor
499 | Separator Clamp for Netral - (Acc.MVTIC) | S | 33777.4398 | 2635.6062 | 1581.3637 | Supply Erect | 1. Aksesories dan Material Pendukung
500 | Service Dead End Fitting + Bot&Nut M14x25 mm | S | 12568.4364 | 7822.8811 | 4693.7286 | Supply Erect | Pendukung
501 | Service wedge clamp 2/4 x 6/10 mm | S | 5382.8775 | 4346.045 | 2607.627 | Supply Erect | 1. Aksesories dan Material Pendukung
502 | Service wedge clamp 4/4 x 10/16 mm | S | 6296.3355 | 5678.8322 | 3407.2993 | Supply Erect | 1. Aksesories dan Material Pendukung
503 | Service wedge Clamp 4x6-25 mm | S | 5841.4707 | 6679.9521 | 4007.9713 | Supply Erect | Pendukung
504 | Shock Pipa PVC 3" - 2" | S | 17430.27 | 4250.3722 | 2550.2233 | Supply Erect | Pendukung
505 | Single Arm Band 11" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | M | 143552.7209 | 22019.9616 | 13211.9769 | Supply Erect | 5. Pembesian
506 | Single Arm Band 12" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG | S | 104467.9038 | 26076.2703 | 15645.7622 | Supply Erect | 5. Pembesian
507 | Bolt & Nut M. 12 x 50 Stainless | B | 27963 | 2317.8907 | 1390.7344 | Supply Erect | Pendukung
508 | Single Arm Band 8" (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG | B | 109381.935 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
| Single Arm Band 8" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 113613.669 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
| Single Arm Band 9" (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 117304.785 | 14486.8168 | 8692.0901 | Supply Erect | 5. Pembesian
| Single Arm Band 9" (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 130018.6289 | 16804.7075 | 10082.8245 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 10" - (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 97764.2406 | 17384.1802 | 10430.5081 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 10" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 104566.7064 | 18543.1255 | 11125.8753 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 11" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 111623.6355 | 21730.2252 | 13038.1351 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 3" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 56630.6676 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 4" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 63012.7563 | 9271.5628 | 5562.9377 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 5" - (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 110332.677 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 5" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 115701.573 | 9851.0354 | 5910.6213 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 6" - (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 80554.8783 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 6" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 76247.6442 | 10430.5081 | 6258.3049 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 7" - (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 78385.8816 | 11009.9808 | 6605.9885 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 7" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 84083.8089 | 12748.3988 | 7649.0393 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 8" - (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 82402.3005 | 12458.6625 | 7475.1975 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 8" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 86624.7135 | 14486.8168 | 8692.0901 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 9" - (t = 6 mm x 35 mm) HDG TR lengkap Nut-HDG |  | 89139.5193 | 15066.2895 | 9039.7737 | Supply Erect | 5. Pembesian
| Single Guy Wire Band 9" - (t = 6 mm x 42 mm) HDG TM lengkap Nut-HDG |  | 97718.5677 | 15935.4985 | 9561.2991 | Supply Erect | 5. Pembesian
| Skun Ferulles |  | 464.1858 | 3750.3284 | 2250.197 | Supply Erect | Pendukung
| Skun Y 2,5 mm |  | 932.1 | 1250.1095 | 750.0657 | Supply Erect | Pendukung
| Small Angle Assembly (SAA) + komplit |  | 89688.5262 | 28973.6336 | 17384.1802 | Supply Erect | 1. Aksesories dan Material Pendukung
| Sock Draad Pipa Galvanized 1" |  | 33089.55 | 7822.8811 | 4693.7286 | Supply Erect | 5. Pembesian
| Sock Draad Pipa Galvanized 2" |  | 58069.83 | 8692.0901 | 5215.2541 | Supply Erect | 5. Pembesian
| Sock Draad Pipa Galvanized 3" |  | 106150.3443 | 11589.4535 | 6953.6721 | Supply Erect | 5. Pembesian
| Sock Draad Pipa Galvanized 4" |  | 101535.5172 | 15935.4985 | 9561.2991 | Supply Erect | 5. Pembesian
| Sock Draad Pipa Galvanized 5" |  | 152304.2078 | 23178.9069 | 13907.3441 | Supply Erect | 5. Pembesian
| Sock Draad Pipa Galvanized 6" |  | 304608.4157 | 43460.4504 | 26076.2703 | Supply Erect | 5. Pembesian
| Square Washer - (l=50 mm, p=50 mm, t=2,5 mm) |  | 5541.3345 | 1448.6817 | 869.209 | Supply Erect | 5. Pembesian
| Stainless Steel Strip non magnetic |  | 13548.0735 | 5562.9377 | 3337.7626 | Supply Erect | 1. Aksesories dan Material Pendukung
| Steker 220 V |  | 11185.2 | 10000.8757 | 6000.5254 | Supply Erect | Pendukung
| Stop Kontak 1 Ph Out Bow + T Cabang |  | 2735116.9549 | 25002.1893 | 15001.3136 | Supply Erect | Pendukung
| Stoping Buckle non magnetic |  | 3981.9312 | 3650.6778 | 2190.4067 | Supply Erect | 1. Aksesories dan Material Pendukung
| Strain Clamp 150 - 240 mm - 3 nut |  | PLN | 23178.9069 | 13907.3441 | Erect Only | 1. Aksesories dan Material Pendukung
| Strain Clamp 70 - 150 mm - 2 nut |  | PLN | 17384.1802 | 10430.5081 | Erect Only | 1. Aksesories dan Material Pendukung
| Strain Hook Ekor Babi |  | 10625.94 | 5794.7267 | 3476.836 | Supply Erect | Pendukung
| Strainhook & clamp u/Gaspijp - 1.5' |  | 15402.9525 | 11589.4535 | 6953.6721 | Supply Erect | 1. Aksesories dan Material Pendukung
| Strut Arm TM - (l=50 mm, t=5 mm, tgg=100 mm) NP 10 - 30 cm |  | 60192.2217 | 20281.5435 | 12168.9261 | Supply Erect | 5. Pembesian
| Strut Arm TR - (l=50 mm, t=5 mm, tgg=100 mm) NP 10 - 25 cm |  | 65947.9392 | 20281.5435 | 12168.9261 | Supply Erect | 5. Pembesian
| Strut Tie 2000 - pipe 2" - 1 m, Tebal 2,0 mm - TR |  | 165447.7499 | 11589.4535 | 6953.6721 | Supply Erect | 5. Pembesian
| Strut Tie 2000 - pipe 2" - 1 meter, Tebal 2,0 mm - TR |  | 202623.6263 | 11589.4535 | 6953.6721 | Supply Erect | 5. Pembesian
| Strut Tie 2000 - pipe 2" - 2,0 m, Tebal 2,0 mm - TM |  | 265387.5119 | 14486.8168 | 8692.0901 | Supply Erect | 5. Pembesian
| Suspension Clamp For MV |  | 29370.471 | 5215.2541 | 3129.1524 | Supply Erect | 1. Aksesories dan Material Pendukung
| Tanda Bahaya Besar - (l=400 mm, tgg=450 mm) |  | 82598.0415 | 5215.2541 | 3129.1524 | Supply Erect | 1. Aksesories dan Material Pendukung
| Tanda Bahaya Kecil |  | 28563.2724 | 2897.3634 | 1738.418 | Supply Erect | 1. Aksesories dan Material Pendukung
| Tanda Phasa Heatshrink |  | 2050.62 | 6084.4631 | 3650.6778 | Supply Erect | Pendukung
| TC 3 x 50 + 1 x 35 sq mm (SPLN) |  | PLN | 11632.4909 | 6979.4945 | Erect Only | MDU
| TC 35 mm - 50 cm untuk kumisan |  | 7456.8 | 4635.7814 | 2781.4688 | Supply Erect | Pendukung
| Tension Bracket (Load 600 kg) |  | 28800.9579 | 7906.8187 | 4744.0912 | Supply Erect | 1. Aksesories dan Material Pendukung
| Terminal Blok 15 Pole 100 Amp |  | 1424481.8244 | 6000.5254 | 3600.3153 | Supply Erect | Pendukung
| Terminal Klem Block 11 Pole |  | 2735116.9549 | 12501.0946 | 7500.6568 | Supply Erect | Pendukung
| Terminal Klem Block 13 Pole |  | 1342223.9995 | 6000.5254 | 3600.3153 | Supply Erect | Pendukung
| Terminal Lug type Y 6 mm |  | 1211.73 | 1500.1314 | 900.0788 | Supply Erect | Pendukung
| Terminal Lug 150 mm - Al 1 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug 150 mm - Al 2 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug 150 mm - Al/Cu 1 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug 150 mm - Al/Cu 2 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug 150 mm - Cu 1 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug 150 mm - Cu 2 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal lug 16 mm - Al/Cu 1 Hole |  | 55553.16 | 9271.5628 | 5562.9377 | Supply Erect | 3. Connector
| Terminal Lug 16 mm Cu 1 Hole |  | 36165.48 | 7822.8811 | 4693.7286 | Supply Erect | 3. Connector
| Terminal Lug 240 mm - Al 2 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug 240 mm - Al/Cu 1 Hole |  | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
| Terminal Lug 240 mm - Al/Cu 2 Hole |  | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
| Terminal Lug 240 mm - Cu 1 Hole |  | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
| Terminal Lug 240 mm - Cu 2 Hole |  | PLN | 14486.8168 | 8692.0901 | Erect Only | 3. Connector
| Terminal Lug 25 mm - Al 1 Hole |  | 13748.475 | 9271.5628 | 5562.9377 | Supply Erect | 3. Connector
| Terminal Lug 25 mm Cu 1 Hole |  | 40391.6214 | 9271.5628 | 5562.9377 | Supply Erect | 3. Connector
| Terminal Lug 35 mm - Al 1 Hole |  | PLN | 9561.2991 | 5736.7795 | Erect Only | 3. Connector
| Terminal Lug 35 mm - Al 2 Hole |  | 37843.26 | 9561.2991 | 5736.7795 | Supply Erect | 3. Connector
| Terminal Lug 35 mm - Al/Cu 1 Hole |  | PLN | 9561.2991 | 5736.7795 | Erect Only | 3. Connector
| Terminal Lug 35 mm - Al/Cu 2 Hole |  | 92837.16 | 9561.2991 | 5736.7795 | Supply Erect | 3. Connector
| Terminal Lug 35 mm - Cu 1 Hole |  | PLN | 9561.2991 | 5736.7795 | Erect Only | 3. Connector
| Terminal Lug 35 mm - Cu 2 Hole |  | 117910.65 | 9561.2991 | 5736.7795 | Supply Erect | 3. Connector
| Terminal Lug 50 mm - Al 1 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 50 mm - Al 2 Hole |  | 60804.6114 | 12748.3988 | 7649.0393 | Supply Erect | 3. Connector
| Terminal Lug 50 mm - Al/Cu 1 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 50 mm - Al/Cu 2 Hole |  | 148669.9499 | 12748.3988 | 7649.0393 | Supply Erect | 3. Connector
| Terminal Lug 50 mm - Cu 1 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 50 mm - Cu 2 Hole |  | 148669.9499 | 12748.3988 | 7649.0393 | Supply Erect | 3. Connector
| Terminal Lug 70 mm - Al 1 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 70 mm - Al 2 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 70 mm - Al/Cu 1 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 70 mm - Al/Cu 2 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 70 mm - Cu 1 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 70 mm - Cu 2 Hole |  | PLN | 12748.3988 | 7649.0393 | Erect Only | 3. Connector
| Terminal Lug 95 mm - Cu 1 Hole |  | PLN | 13907.3441 | 8344.4065 | Erect Only | 3. Connector
| Terminal Lug CU 10 + Scooth/Heatshrink |  | 36165.48 | 7822.8811 | 4693.7286 | Supply Erect | 3. Connector
| Terminal Lug type I 6mm |  | 1398.15 | 1500.1314 | 900.0788 | Supply Erect | Pendukung
| Terminal Lug type O 1-10 mm CU |  | 1498.8168 | 1500.1314 | 900.0788 | Supply Erect | Pendukung
| Tiang Besi 11 Meter |  | PLN | 696125.6244 | 417675.3747 | Erect Only | MDU
| Tiang Besi 13 Meter |  | PLN | 870157.0305 | 522094.2183 | Erect Only | MDU
| Tiang Besi 14 Meter |  | PLN | 1044188.4366 | 626513.062 | Erect Only | MDU
| Tiang Besi 9 Meter |  | PLN | 580104.687 | 348062.8122 | Erect Only | MDU
| Tiang Beton 11 Meter - 200 daN |  | PLN | 696125.6244 | 417675.3747 | Erect Only | MDU
| Tiang Beton 12 Meter - 350 daN |  | PLN | 812146.5618 | 487287.9371 | Erect Only | MDU
| Tiang Beton 13 Meter - 350 daN |  | PLN | 870157.0305 | 522094.2183 | Erect Only | MDU
| Tiang Beton 14 Meter - 350 daN |  | PLN | 1044188.4366 | 626513.062 | Erect Only | MDU
| Tiang Beton 9 Meter - 200 daN |  | PLN | 580104.687 | 348062.8122 | Erect Only | MDU
| Timah Segel |  | PLN | 1750.1532 | 1050.0919 | Erect Only | MDU
| Timah solder + pasta |  | 3171.0042 | 2000.1751 | 1200.1051 | Supply Erect | Pendukung
| Trafo Distribusi 1 PH (10 - 25 kVA) |  | PLN | 801081.2793 | 480648.7676 | Erect Only | MDU
| Trafo Distribusi 20 kV 3 PH 25 KVA |  | PLN | 901216.4392 | 540729.8635 | Erect Only | MDU
| Trafo Distribusi 20 kV 3 PH 100 kVA Yzn5 (D3) |  | PLN | 1001351.5991 | 600810.9595 | Erect Only | MDU
| Trafo Distribusi 20 kV 3 PH 160 kVA Yzn5 (D3) |  | PLN | 1201621.919 | 720973.1514 | Erect Only | MDU
| Trafo Distribusi 20 kV 3 PH 200 kVA Dyn5 (D3) |  | PLN | 1301757.0789 | 781054.2473 | Erect Only | MDU
| Trafo Distribusi 20 kV 3 PH 250 kVA Dyn5 (D3) |  | PLN | 1502027.3987 | 901216.4392 | Erect Only | MDU
| Trafo Distribusi 20 kV 3 PH 50 kVA Yzn5 (D3) |  | PLN | 901216.4392 | 540729.8635 | Erect Only | MDU
| Tree Way Load Break Switch 24 kV-630 A Motorized 12,5 kA c/w PTCC |  | PLN | 1508272.1863 | 904963.3118 | Erect Only | MDU
| Turn Buckle TM 3/4" (7000 kg) - TM - (l=42 mm, t=6 mm) |  | 172112.2649 | 17384.1802 | 10430.5081 | Supply Erect | 5. Pembesian
| Turn Buckle TR 5/8" (4000 kg) - TR - (l=33 mm, t=6 mm) |  | 130764.3089 | 16225.2348 | 9735.1409 | Supply Erect | 5. Pembesian
| Twisted Cable 2 x 10 mm - Al |  | PLN | 2317.8907 | 1390.7344 | Erect Only | MDU
| Type Box App sesuai SPLN No.D3.051-1:2011 |  | PLN | 231789.069 | 139073.4414 | Erect Only | MDU
| U - Bolt + Steel Plate TM/TR Bolt M.18 + 2 nut |  | 97053.0483 | 6374.1994 | 3824.5196 | Supply Erect | 5. Pembesian
| U - Strap - TM - (l=42 mm, t=6 mm) |  | 50449.9125 | 6953.6721 | 4172.2032 | Supply Erect | 5. Pembesian
| U-Ditch (1200mm x 800mm x 500mm) + Cover |  | 1671320.5463 | 259387.3168 | 155632.3901 | Supply Erect | Pendukung
| U-Ditch (1200mm x 800mm x 500mm-800mm) + Cover |  | 1671320.5463 | 259387.3168 | 155632.3901 | Supply Erect | Pendukung
| U-Ditch (1200mm x 800mm x 800mm) + Cover |  | 1214306.3239 | 259387.3168 | 155632.3901 | Supply Erect | Pendukung
| Unit Gardu Bergerak (UGB) |  | PLN | 197670.468 | 118602.2808 | Erect Only | MDU
| UPS u/ Kubikel |  | 68043.3 | 14486.8168 | 8692.0901 | Supply Erect | Pendukung
| Washer 45 x 45 x 3,5 - HDG |  | 4651.179 | 579.4727 | 347.6836 | Supply Erect | 5. Pembesian
| Westpex 16mm |  | 10159.89 | 14766.6089 | 8859.9654 | Supply Erect | Pendukung
| Westpex 20mm |  | 13888.29 | 14914.275 | 8948.565 | Supply Erect | Pendukung
| Westpex 25mm |  | 19201.26 | 15135.7742 | 9081.4645 | Supply Erect | Pendukung
| Westpex 32mm |  | 33089.55 | 15504.9394 | 9302.9636 | Supply Erect | Pendukung
| Wire Clip M10 (35 mm) |  | 6589.0149 | 6953.6721 | 4172.2032 | Supply Erect | 1. Aksesories dan Material Pendukung
| Wire Clip M12 (70 mm) |  | 5906.7177 | 6953.6721 | 4172.2032 | Supply Erect | 1. Aksesories dan Material Pendukung
| Wire Clip M16 (95 mm) |  | 8268.6591 | 6953.6721 | 4172.2032 | Supply Erect | 1. Aksesories dan Material Pendukung
| Wire Clip M8 (22 mm) |  | 6372.7677 | 5215.2541 | 3129.1524 | Supply Erect | 1. Aksesories dan Material Pendukung
| ZCT 50/5 - 100/5 A |  | PLN | 295332.179 | 177199.3074 | Erect Only | MDU